The CASA DALI Master Module enables wireless control of DALI lights and DALI-Drivers. The generously designed DALI bus power supply of up to 200 mA allows the connection of up to 64 DALI lights or power supplies to a single module. This provides the user with a significant cost advantage. The module features integrated strain relief and terminal cover for optimal installation.

Electrical data:

Input Voltage AC: AC 220-240V / 50-60Hz

Switching output: 1.750 W

Acceptance tests:

Protection class: II

Ingress protection (IP) rating: IP 20

Physical data:

Length (L): 143 mm

Width (B): 47 mm

Height (H): 29 mm

Manufacturer: RP-Technik GmbH